## Slide 1: Improving Ground Ice Segmentation in Permafrost Cores Using X-ray CT
Mahya Roustaei
Evan Francis, Jordan Harvey, Julia Boike, Jan Nitzbon, Steffen Schlueter, Duane Froese

## Slide 2
Crack in a road in Canada, Credit: Guy Dore
Mackenzie Valley Foothills
Credit: Alexandre Chiasson

## Slide 3: Why non-destructive techniques matters?
Video from Brendan O’Neill, GSC Ottawa

## Slide 4: Methodology

## Slide 5: Methodology
A permafrost core

## Slide 6: Outcomes of previous works

## Slide 7: Comparison of segmentation methods
Ice-rich Yedoma upland on Kurungnakh Island, Siberia
Diameter of 7.5 cm anddivided into segments up to 30 cm
Scanned in February 2019 at UFZ, Halle, Germany
Scanner: Nikon Metrology XT H 225 micro-CT, 150 kV, 320 µA, 500 ms, Copper filter:0.5 mm
Final voxel size: 50 µm
Material
Manual thresholding: Visual selection of greyscale cutoffs.
Otsu thresholding: Automatic histogram-based separation.
ImageJ Labkit: Random forest trained with labelled pixels.
nnUNet: Deep learning trained with annotated CT data.
Segmentation methods
The last not least:
Comparison with the ground truth

## Slide 8: ImageJ Labkit segmentation workflow
Select training subvolumes
Import CT stack into ImageJ/Fiji
Open Labkit plugin
Label selected pixels manually: gas, excess ice, sediment phase A, sediment phase B
Train random forest classifier
Check segmentation result
Refine labels if needed
Apply classifier to full CT scans
Extract material volume fractions
Steps
Evan Francis
egfranci@ualberta.ca

## Slide 9: Visual Comparisons of results
Manual and Otsu methods show similar results.
Both capture main structures but miss fine details.
Labkit and nnUNet better detect textures and boundaries.
Labkit gives the best balance between accuracy and usability.
Machine learning performs better in heterogeneous CT images.

## Slide 10: Visual Comparisons of results
Otsu separates materials only by greyscale intensity.
Mixed sediment and ice-rich zones are easily misclassified.
Labkit uses texture and spatial patterns and boundaries, not only intensity.
This helps detect small ice inclusions and complex mixtures.
Machine learning gives a more realistic segmentation in heterogeneous zones.

## Slide 11: CT-Derived Volume Contents
Labkit-derived volumes follow the main depth trends from lab data.
Excess ice shows the closest agreement with lab measurements.
Phase A and phase B do not directly match organic and mineral contents.
This is expected because CT sediment phases include mixed materials.
Labkit can still track relative changes in ice and sediment distribution.

## Slide 12: Quantitative analysis
All methods show similar correlation: R ≈ 0.71–0.73
Labkit has the lowest bias, MAE, and RMSE
nnUNet has the highest R, but larger error
Thresholding methods show higher bias and error
Labkit provided the most accurate EIC estimates,
with the lowest overall error: Bias = −1.0%, MAE = 9.2%, RMSE = 11.2%.
Key messages

## Slide 13: Conclusion
Main challenges
Overlapping greyscale values
Partial-volume effects
Artifacts and image noise
Mixed ice–organic–mineral phases
Training data and normalization needs
Take-home messages
Thresholding is simple, but less reliable in complex zones.
Otsu is useful for fast exploratory analysis.
Labkit gives the best balance of accuracy and usability.
nnUNet is promising for larger automated workflows.
CT-based VIC still needs lab-calibrated regression.

## Slide 14: Recent tests
Swiss Light Source - TOMCAT
Prof. Florian Fusseis
Dr Eranga Jayawickrama
Cylindrical specimens (10 mm × 20 mm) of silt (<63 μm), sand (~160 μm), and glass beads (1.0–1.3 mm) saturated with a 4% KI solution to enhance contrast between ice and unfrozen water

## Slide 15: A close look at the -0.8 sample
3D segmentation from ImageJ Labkit
Oblique view with sediment and ice clipped away by a plane to show only unfrozen water pockets
Oblique view where sediment has been clipped away, leaving only ice and unfrozen water

## Slide 16
Thank you
Universiteit Gent
@ugent
@ugent
Ghent University
youtube.com/ugent
www.ugent.be
Mahya Roustaei Director of UGent Geotechnical Institute (UGGI) E mahya.roustaei@ugent.be T +32 9 264 5721 M +32 496298834 www.ugent.be